## Slide 1: Mass Spectrometry
Courtesy www.lab-initio.com

## Slide 2: Purpose of Mass Spectrometry
Produces spectra (graph) of masses from the molecules in a sample of material, and fragments of the molecules.
Used to determine
  the elemental composition of a sample
  the masses of particles and of molecules
  potential chemical structures of molecules by analyzing the fragments
  the identity of unknown compounds by determining mass and matching to known spectra
  the isotopic composition of elements in a molecule

## Slide 3: Stages
The ionizer converts some of the sample into ions.
Mass analyzers separate the ions according to their mass-to-charge ratio.
The detector records either the charge induced or the current produced when an ion passes by or hits a surface

## Slide 4: Mass Spectrum of CO2
Molecular ion peak
[CO2]+ = 44
[CO]+ = 28
[O]+ = 16
[C]+ = 12
Fragment Peaks

## Slide 5: Mass Spectrum of Bromine, Br2
Bromine has two isotopes: 50.69% 79Br and 49.31% 81Br
79Br+
81Br+
[79Br81Br]+
[79Br79Br]+
[81Br81Br]+
Molecular Ion Peaks
Fragments

## Slide 6: Practice: Methyl Bromide, CH3Br

## Slide 7: Answers: Methyl Bromide, CH3Br
[CH381Br]+
[CH281Br]+
[C81Br]+ and [CH279Br]+
[CH81Br]+ and [CH379Br]+
[CH79Br]+
[CH3]+
[C79Br]+
[81Br]+
[79Br]+

## Slide 8: Practice: Methylene Chloride (CH2Cl2)
Chlorine is 75.77% 35Cl and 24.23% 37Cl

## Slide 9: Practice: Vinyl Chloride (CH2CHCl)
Chlorine is 75.77% 35Cl and 24.23% 37Cl

## Slide 10: Spectra of Larger Molecules
Spectra of large molecules have many fragments, and the interpretation of their spectra is beyond the scope of this course.
Codeine, C18H21NO3

## Slide 11: Mass Spectrometry in Forensics
Mass spectrometry is used to confirm the identify of unknowns, such as illegal drugs
Unknowns are often not pure, and must be separated from a mixture
Gas chromatography is used to separate the components of the mixture
Mass spectrometry “fingerprints” the components, so that they can be matched to existing known spectra
Gas
Chromatograph
Mixture
Mass
Spectrometer